Indicators for Assessment of Anemia and

# Iron Deficiency in the Community

Prof. K N Agarwal

Health Care & Research Association for Adolescents;

D-115, Sector-36 NOIDA, Gautam Budha Nagar , U.P., INDIA- 201301.

e-mail: adolcare@hotmail.com

The review discusses problem of nutritional anemia, particularly iron deficiency with or without anemia. Critical analysis continues to recommend cyanmethemoglobin method for estimation of hemoglobin; filter paper technique is suited for field surveys. Recently introduced HemoCue method for hemoglobin estimation is practical. However, variability in hemoglobin estimation as compared to cyanmethemoglobin need be evaluated in selected laboratories of the country to derive some form of conversion factor. The red cell indices especially mean corpuscular volume (MCV), percentage mature hypo chromic erythrocytes (HyPom), red cell distribution width (RDW) and reticulocyte changes- hemoglobin concentration (CHr) and size (Ret Y), are of interest in institutions with modern automated analyzer as these are more sensitive indices than the hemoglobin level.

Serum irons, total iron binding capacity and transferrin saturation are not good indicator of iron status. Serum ferritin represents body iron stores; in infection free situation, it is an ideal indicator for diagnosis of iron deficiency and response to iron therapy in community. Recent studies suggest estimation of serum transferrin receptors in addition to serum ferritin in diagnosis of iron deficiency. Bone marrow iron assessment is useful in individual patient; it is not affected by infection.

For country like ours, with high prevalence and severity of anemia, hemoglobin estimation, peripheral smear to exclude malaria and response to iron therapy remains important time tested tools to diagnose iron deficiency.

Key words: Iron deficiency- hemoglobin- serum ferritin – transferrin receptors – red cell indices

In India prevalence of anemia at all ages remains very high e.g. pregnant women (rural) - ICMR (11 states; 1998-2000) 84.9% with 9.9% severe anemia (1), supported by Nutrition Foundation of India study in 7 states (2002- 2003) 86 .0% with 9.3% severe anemia (2). These studies observed similar prevalence rates for adolescent girls and lactating women. Kapur et al (3) in an urbam slum with ICDS program for 2 decades observed 64% (9-36 months of age) as anemic with 7.8% severe anemia. 88% of these children had low serum ferritin (CRP - ve). Besides iron deficiency folic acid in pregnancy and vitamin B12 deficiencies in early childhood are also common (4) . Data from US NHANES survey III 1988- 94 showed iron deficiency prevalence of 6% to 18% in children 12 – 35 months of age. It was observed that anemia is a poor predictor of iron deficiency. The positive predictive value of hemoglobin < 11.0 g/dl was 29 %( 95%, C I- 20-38%) and sensitivity was 30% (C I - 20-40%). If hemoglobin cut off was 10.7 g/dl, the positive predictive value became 38% (C I - 24-52%), but lowered the sensitivity to 15% (C I - 7- 22%). Most children with iron deficiency are necessarily are not anemic (5). Recent studies show that sensitivity and specificity of diagnosing iron deficiency can be improved by assessing transferrin iron saturation, mean corpuscular hemoglobin concentration, and erythrocyte - protoporphyrin, percentage of hypochromic mature erythrocytes (HyPom) or reticulocyte hemoglobin concentration (CHr). However, these changes are indistinguishable to those in chronic disease anemia. The optimal diagnostic approach appears to measure the serum ferritin as an index of iron stores and the serum transferrin receptor as an index of tissue iron deficiency (6). The available approaches in diagnosing iron deficiency are discussed in this review.

Iron nutritional status: In normal individuals, 2/3 of total body iron is available for hemoglobin formation. The remaining 1/3 gets deposited as hemosiderin and ferritin. This can be mobilized when iron is needed in functionally active form. In pregnancy normal women need around 1000 mg of iron. Iron stores in healthy full term can meet the infant’s iron requirements until 4-6 months of age. Infant increases body weight and blood volume by 3 times with increase in total body iron by two times, by the first birthday. However preterm and low birth weight babies having poor iron stores, become deficient earlier (within first 2 months of age). In maternal iron deficiency there is proportionately less iron transfer to fetus (7,8). Nature tries to compensate by secreting more iron in breast milk of the iron deficient mothers (9). Intrauterine and early life iron deficiency reduces brain iron content and alters neurotransmitters irreversibly, affecting mental functions (10).

Iron deficiency: is defined as a condition in which there are no mobilizing iron stores, causing a compromised supply of iron to tissues, including the red cells. It varies greatly with each stage of the life cycle, in general growing children (up to 2 yr of age), pregnant and lactating women and adolescents (second growth spurt) are the most vulnerable. In iron deficiency hemosiderin and ferritin (iron stores) decrease; supply of iron to the transport protein (apotransferritin) gets compromised, resulting in decrease in transferrin saturation and increase in transferrin receptors.

Stages in iron deficiency (11): First stage- depletion as storage iron is observed as fall in serum ferritin (reflects low iron in liver/spleen/bone marrow). There is generally absence of stainable iron in bone marrow during rapid growth period. Second stage- decrease in transport iron, results in low serum iron, increased total iron binding capacity and decrease in transferrin saturation. Both these stages are preanemic “Latent iron deficiency”. Third stage- there is significant fall in supply of transport iron, restricting hemoglobin synthesis with increase in erythrocyte- porphyrin. Microcytosis appears, accompanied with hemoglobin fall to fulfill the laboratory definition of anemia. Iron deficiency as a steady state - as mild deficiency develops very gradually, and is almost in equilibrium due to conditions lasting for months or years. The laboratory values for serum ferritin and transferrin saturation are in normal limits, but such patients respond to iron therapy.

Iron overload syndrome: or hemochromatosis (primary or secondary), affects liver, pancreas, heart, endocrine glands and skin. Serum ferritin and transferrin saturation are raised, while erythrocyte- protoporphyrin, MCV and hemoglobin remain in normal range.

Methods of assessing iron status

WHO/CDC (12) expert consultation recommended addition of transferrin receptor in addition to hemoglobin and serum ferritin for assessment of iron status in places where infection is common. In situations with high prevalence of anemia a) clinical assessment, b) hemoglobin estimation and c) response to iron supplementation may suffice. Detailed investigations will be required only in those who do not respond to iron supplementation.

- Clinical assessment: in moderate to severe anemia (11,12)   -i) significant pallor of eyelids (difficult in children due to frequent conjunctivitis), tongue, nail beds and palms (pale palm creases suggest severe anemia; ii) fatigue, low exercise capacity (mild anemia can produce decreased exercise tolerance); iii) fissures at the corner of the mouth suggest anemia; iv) nails, show pallor, flatness, softness to feel and later become spoon shaped (koilonychia). It is rare in children < 6 yr of age, as hemoglobin is sacrificed to maintain tissue growth; v) children develop irritability, pica for ice/mud/coal/substances containing lead; vi) findings of congestive failure indicate severe anemia, hemoglobin below 5.0g/dl; vii) iron deficiency affects mental functions (10) i.e. attention span, alertness and learning, and viii) deficiencies of vitamin B12 and folic acid are associated with psycho-neurological changes and pigmentation of mucous membranes and distal parts of the body. These clinical features are of diagnostic assistance for the individual patient with severe anemia to seek advice from a medical expert. However, clinical features fail to assess degree of anemia and therapeutic response. Thus hemoglobin estimation is the criterion.

Anemia (as measured by hemoglobin or hematocrit estimations) is not specific of iron deficiency; however it is the commonest deficiency in India, thus a presumptive diagnosis can be made. Normal hemoglobin and hematocrit distribution varies with age, gender, at different stages of pregnancy and with altitude and smoking (Table I). Given the wide range of hemoglobin concentrations in the population as a whole, an individual can have a substantial decrease in hemoglobin with the value still in the normal range.

- Hemoglobin and hematocrit: can be used to assess anemia in community where prevalence is of public health significance. The problem arises in capillary blood collection the technician should be very careful. To obtain the best possible skin puncture sample, it is important to warm the extremity in order to facilitate a free flow of blood and to avoid any squeezing of the finger. In community surveys discrepancy up to 0.5 g/dl between capillary and venous blood is acceptable. Collections of venous blood give accuracy and allow study of other parameters, if needed.

Hemoglobin estimation (14-19)

  - Copper sulphate method- used in blood banks, discriminates donor’s hemoglobin content > 10g/dl.

  - Sahli’s method (acid-hematin) - developed color is unstable, begins to fade almost immediately after it reaches its peak. It does not estimate fetal hemoglobin in infants.

  - Oxyhemoglobin method- though simplest and quickest, does not have a stable HbO2 standard. It is also not satisfactory in presence of methemoglobin, sulphemoglobin etc.

  - Alkali-hematin method- it gives true estimate of total hemoglobin, except the resistant hemoglobins i. e. fetal and Bart’s hemoglobins require heating in a water bath for 4 min. Method is cumbersome and less accurate than the oxyhemoglobin and cyanmethemoglobin methods.

  - Cyanmethemoglobin method- it is the best time tested method for estimating the hemoglobin concentration quantitatively. Blood is diluted in a solution containing potassium cyanide and potassium ferricyanide. Hemoglobin, in blood is found in variety of forms including oxyhemoglobin, carboxyhemoglobin, methemoglobin, fetal hemoglobin and other minor components are converted to cyanmethemoglobin (HiCN). Sulphemoglobin is not converted, but is rarely present in significant amount. Standard is internationally developed and is stable for several years. In field surveys blood is delivered on to No 1 Whatman filter paper (1.5 x 1.5 cm square), dried and transported. Drabkin’s solution in screw-capped tubes can be taken to the field; once the blood is mixed some loss of fluid will not alter the result. This method is reproducible and suited for field hemoglobin estimation. It is also possible to use battery-operated colorimeters for hemoglobin estimation in field. Main errors in measurement arise from i) dilution, ii) sample turbidity (incomplete lysis of blood cells), lipids, and raised leucocyte count. In automated method the precision is less than 1%.

  - HemoCue system- hemoglobin estimations: India had large field survey experience in NFHS II (18), it is suited for rapid field surveys, no dilution required, equipment is portable; results are available within 45 sec. and read directly. Comparison with cyanmethemoglobin method showed variability at different hemoglobin levels. Thus no simple conversion factor is applicable. It is not possible to compare data on prevalence and severity of anemia as earlier studies used cyanmethemoglobin method. Taking cyanmethemoglobin as gold standard the sensitivity of  hemoCue  method was 0.75 and specificity 1.0, corresponding hemoglobin values with both the methods  fell within ± 2 SD with correlation coefficient of  r = 0.922. These two methods showed the magnitude of difference as – 1.19 g/dl (C I: – 1.40- 0.98), thus suggesting an overestimate of hemoCue values by 10-15 %; correction factor being 0.389 + 0.831 Hb- hemoCue(20). There is need to validate hemoCue method in 2-3 laboratories of our country, as it has field applicability, and overcomes dilution, collection, transportation and sample turbidity etc. This method is costlier as compared to cyanmethemoglobin method (for equipment as well as cuvettes).

  - Hematocrit (microhematocrit)/ packed cell volume: It is an acceptable and recommended method for anemia determination. Widely used for simplicity and availability. Equipment can be transported, needs constant voltage for operation. Blood is collected in anticoagulant treated capillary tube and spun in a portable microhematocrit centrifuge; plasma trapping is around 1-3% (15).Trapping of plasma is more if red cells are abnormal i. e. sickle cell, microcytosis, macrocytosis and spherocytes. Individuals with shock or dehydration may have risen or normal hematocrit due to hemoconcentration. Automated analyzers do not depend on centrifugation technique but calculate by direct measurement of RBC number and red cell volume (precision cv <1%).

3. Peripheral smear (15,19): In a well spread, fixed and stained peripheral smear; see whole film under low magnification, later selected areas be examined under oil emersion. In India anemic patient’s peripheral smear on careful examination can be of importance to detect malarial parasite. Microcytic hypochromic red cells suggest iron deficiency. Macrocytic red cells with large hypersegmented neutrophils, suggest megaloblastic anemia (vitamin B12 or folic acid deficiencies). Marked leucopenia and thrombocytopenia are seen in aplastic anemia. Toxic granulations in neutrophils are indicative of infection. Immature leucocytes are observed in leukemias.

4. Response to iron therapy (21): Rise in hemoglobin (by 1.0 g/dl or hematocrit by 3% in 1-2 months), in an individual on iron therapy indicates iron deficiency anemia.

5. Red blood cells count and indices:

i) Red cell count- both erythrocytes and leucocytes are counted in whole blood. As the number of red cells is more than 500 times than the leucocytes the error introduced is negligible. In automated analyzer the observed precision is <1 %(cv) as compared to manual method with value of >11%(cv).

ii) Mean corpuscular volume (MCV) - is highly reproducible, less subjective to sampling error in finger prick, as dilution by the fluid does not influence the cell volume. It is a useful red cell index providing insights into path physiology of red cell disorders (classification of anemia). MCV is directly measured on the automated analyzer (by dividing the summation of red cell volumes by the erythrocyte count; cv <1%). But can be calculated from the erythrocyte count and the hematocrit (cv around 10%).   MCV is higher at birth, decreased rapidly during first 6 months of life. Decreased MCV is observed in iron deficiency, thalassemia, infection and chronic diseases. Disproportionately low MCV with normal hemoglobin suggest thalassemia minor (22). Increased MCV is observed in megaloblastic anemia and liver disorders. Mentzer index- the ratio of MCV to RBC count in million; values < 13% is in thalassemia minor in 85%; while > 13% in 85% chances in iron deficiency (23).

In contrast, MCH and MCHC do not add much significant clinical information.

iii) Red cell distribution width (RDW): Quantifies the red cell volume heterogeneity estimated by the more modern analyzers and reflect the range of red cell size measured with in a sample. It is useful in characterizing the microcytic anemias: iron deficiency- (high RDW, normal to low MCV) and uncomplicated heterozygous thalassemia(normal RDW, low MCV). Value > 15% proved highly sensitive (71 to 100%) but relatively non- specific (50%) for iron deficiency.

iv) Percentage hypochromic mature RBC (hyPom), can be measured on new automated analyzer (24).

v) Reticulocyte: a) Reticulocyte hemoglobin content (CHr) decrease is an early sensitive indicator of iron deficiency erythropoeisis. It is also reliable in assessment of iron therapy response (25).

b) Presently automated hematology analyzer has automated reticulocyte counting and size (Ret Y) measurement as part of the testing. Ret Y is a sensitive indicator of iron deficiency (26). It correlates closely to sTfR, has highest overall sensitivity and specificity of the panel of tests used in differential diagnosis of iron deficiency vs chronic disease anemia.

6.. Serum iron levels (range 50-150 ug/dl) : Over 3 yr of age has marked diurnal variation, being higher by 30% in the morning as compared to the night. Value < 30ug/dl in the morning sample after 8 hr fast, suggests iron deficiency. The absolute value for total iron binding capacity (TIBC) is mostly increased in iron deficiency and decreased in anemia of chronic disorders (14).

Transferrin saturation = serum iron x 100

TIBC

Transferrin saturation value (normal 20-45%) is more consistently helpful than either value alone. In both children and adults value < 5% is diagnostic of iron deficiency, while <16% is suggestive of iron deficiency or for anemia of chronic disorders. However it does not reflect iron stores, is related to efficiency of moving iron out of iron processing cells (reticuloendothelial macrophages, hepatocytes or absorptive erythrocytes) and erythron. Non iron deficiency anemia with infection/inflammation may have transferrin saturation <16% rarely <10% but has low TIBC of 200ug/dl. The lower serum iron and TIBC are associated with decreased production of transferrin (- globulin).

7. Soluble transferrin receptor (sTfR): It is a normal proteolytic cleavage product of transferrin receptor derived from erythroid precursor cells. An increase in serum transferrin receptors is a sensitive response during the early development of iron deficiency. Serum transferrin receptor levels increase progressively as the supply of iron to the tissues become deficient. The advantages are that it does not get affected by infection or inflammatory process; does not vary with age, sex or pregnancy. However, serum transferrin receptor level may be elevated in ineffective erythropoiesis i.e. thalassemia syndrome (27).

8. TfR-index:  Ratio of sTfR to the log of serum ferritin; values > 1.5 suggest iron deficiency alone or in combination with inflammatory conditions. Value < 1.5 is characteristic of anemia of chronic diseases. TfR index is also sensitive enough to detect iron deficiency, before iron deficient erythropoiesis is clinically apparent. Both sTfR and TfR index are decreased in iron overload (28,29).

9. Erythrocyte protoporphyrin(EPP): In deficiency EPP increases moderately as there is less iron available to bind to protoporphyrin for conversion to heme. However it does not differentiate from chronic inflammatory anemia. EPP shows marked increase in lead poisoning. Lead directly inhibits ferrochelatase the last enzyme in heme biosynthesis. In contrast, in thalassemia less globin chain synthesis, leads to commensurate decrease in protoporphrin synthesis (14).

Studies in African children showed significant ethnic differences in sTfR and Zn-PP (zinc protoporphyrin) levels suggesting separate cut off (30).

10. Iron stores: a) serum ferritin concentration gets altered independently of change in body iron burden. It predicts hepatic iron content to 95%. Unlike serum iron levels, serum ferritin value is not affected by recent iron therapy. However, it is also an acute phase reactant protein that is elevated in response to infection. Therefore, only an unequivocal low ferritin level in CRP negative (< 5 mg/L) patient can be used to make the diagnosis of iron deficiency. In India prevalent infections and protein energy malnutrition limit its use. Conditions like ascorbic acid deficiency, fever, infection/inflammation (chronic inflammation like rheumatoid arthritis), acute or chronic hepatic damage (release of intracellular ferritin), hemolysis and ineffective erythropoiesis (thalassemia major) increase the ferritin levels. The senstivity of serum ferritin in diagnosis of iron deficiency was 80%, compared to 57% for HyPom and CHr, respectively (69% for both the RBC indices) and 26% to hemoglobin; taking TfR-index as the gold standard.

Serum ferritin in relation to iron stores- serum ferritin ug/L:

Age          <5 yr                                  >5 yr

Depleted iron stores                          <12                                    <15

Depleted iron stores

in presence of infection                      <30                                    <30

Severe risk of iron overload               Adult male >200 and female >150.

High values of serum ferritin at birth indicate abundant iron stores. Infant, young children and pregnant women (diminishes in late pregnancy, even when bone marrow iron is present) usually have serum ferritin values near or in the range reflective of depletion; however a low level does not imply functional iron deficiency. Further it is of limited value in diagnosis of iron overload and reliance on this modality alone may be faulty.

b) Bone marrow iron remains the gold standard for diagnosis of iron status. In iron deficiency, marrow hemosiderin is absent; in anemia of chronic disorders iron is always present. In early childhood it may not be reliable as bone marrow stainable iron generally not seen due to rapid growth. Iron stores are greatly increased in thalassemia major and sideroblastic anemia (14).

c) Hepatic iron 32 is of value but single needle biopsy may not be of help (32). This parameter is used in animal experiments to produce iron depletion (33). It is useful in diagnosis of iron overload.

Diagnosis of iron deficiency in pregnancy:

- Hemoglobin level of <11.0g/dl in 1st and 3rd trimester and <10.5g/dl in 2nd trimester is recommended as cut off for anemia, by the American Centre for Disease Control and Prevention.

- MCV is raised in pregnancy (whether iron deficiency or not).

- Serum ferritin falls in 2nd and 3rd trimesters with or without iron deficiency.

- TIBC and serum iron- have sensitivity in pregnancy.

- EPP - fluctuates less in pregnancy.

- Serum transferrin receptor test is sensitive and is not affected in pregnancy.

The CDC/WHO expert groups on 7th May 2004 recommended that hemoglobin and serum ferritin are the most valuable indicators of the impact program to control iron deficiency. To overcome the affects of infection/inflammation etc. on serum ferritin, the group recommended, that to assess iron deficiency, the transferrin receptor estimation, in addition to hemoglobin and serum ferritin. The values of serum ferritin and transferrin receptor will allow calculation of TfR index a sensitive indicator of iron deficiency(12).

To summarize in India we have situation of wide spread anemia and infection at all ages. Anemia is most likely due to iron and/or folate deficiencies. Vitamin B12 deficiency is also common in younger age group. Hemoglobin estimation, peripheral smear and therapeutic response to iron are good time tested tools and should be used first in diagnosis of iron deficiency.

In view of high prevalence of anemia to detect iron deficiency community level screening is recommended.

- Universal Screening:

Clinical assessment

Hemoglobin estimation and peripheral smear to exclude hem parasite(s)

Clinical response to iron administration

Stool examination- to exclude worm infestation and ‘Hem occult’ blood test.

- Selective screening for an individual: To confirm diagnosis of iron deficiency additional tests suggested are serum ferritin (with negative CRP) and transferrin receptor (calculate TfR index; 27 & 28).

The subject of iron deficiency and search for ideal tool in diagnosis has continued for over sixty years (34), for a simple and reliable test to diagnose early iron deficiency. The estimation of iron and ferritin in saliva need further exploration (31,35). The newer indices RDW, HyPom, CHr and Ret Y need studies in Indian population.

REFERENCES

1. Teoteja G, Singh P. Micronutrient deficiency disorders in 16 districts of India. Report of an ICMR Task Force Study – District Nutrition Project. Part 1. 2001.

2. Agarwal KN Agarwal DK Sharma A Sharma K Prasad K Kalita MC Khetarpaul N Kapoor AC Vijayalekshmi Govilla Ak Panda SM Kumari P. Anemia in rural in rural pregnant and lactating Indian women. Indian J Med Res (In press).

3. Kapur D, Agarwal K N, Agarwal DK. Nutritional anemia and its control. Indian J Pediatr 202; 69 : 607-616.

4. Gomber S Kumar S Rusia U Gupta P Agarwal KN Sharma S. Prevalence and etiology of nutritional anemias in early childhood in an urban slum. Indian J Med Res. 1998; 107: 269-273.

5. White KC. Anemia is a poor predictor of iron deficiency among toddlers in the United States. J Pediatrics 2005; 115:315-320.

6. Cook JD. Diagnosis and management of iron deficiency anemia. Best Pract Res Clin Haematol  2005; 18: 319-332.

7.Singla P N Chand S Agarwal K N. Cord serum and placental tissue iron status in maternal hypoferreimia . Amer J Clin Nutr 1979; 32: 1462-1465.

8. Agarwal R M D  Tripathi A M  Agarwal K N. Cord blood hemoglobin iron and ferritin status in maternal anemia. Acta Paediatr Scand 1983; 72: 545-548.

9. Franson G N Agarwal K N Mehdin G M Hambraeus L Increased breast milk iron in severe maternal anemia: Physiological trapping or leakage. Acta Paediatr Scand 1985; 74: 290-291.

10. Agarwal K N. Iron and brain: neurotransmitter receptors and magnetic response spectroscopy. Brit J Nutr 2001; 85 Suppl 2 S147-150.

11. Adaman JW Dan L . Anemia and polycythemia. Section-10 Hematological Alterations. In Harrison’s Principles of Internal Medicine 16th ed. Vol. 1, editors Kasper DL Fauci AS Longo DL Braunwald E Hauser SL Jameson JL. 2005; pp 334-336 McGraw Hill, N. Y.

12. WHO/CDC. Best indicators to assess iron deficiency, a major cause of anemia. 7th May 2004. http://www.who.int/.(Dr Bruno de Benoist-email:debenoist@who.int.).

13. Glader B. Iron deficiency anemia. Chap. 447; Nelson’s Text Book of Pediatrics 17th ed. Editors Behrman RE Kleigman RM Jenson HB 2004; pp 1614-1616. Publ Elsevier India Pvt Ltd. N-Delhi.

14. Andrews NC. Disorders of iron metabolism. Chap 46. In Blood: Principles and Practice of Hematology. Editors Handin RI Lux  SE Stossel TP 2003; 2nd ed pp 1399-1433. Lippincott Williams & Wilkins Phildelphia USA.

15. Perkins S L. Examination of the blood and bone marrow. Chapter 1 . In Wintrobe’s Clinical Hematology 11th ed. Editors: Greer JP Foerster J Lukens J N Roders GM Paraskevas F Glader B. 2004; vol. 1 pp 3-25 Publ. Lippincott Williams & Wilkins Phildelphia USA.

16. Hudson-Thomas M Bingham KC Simmons WK. An evaluation of HemoCue for measuring haemoglobin in field studies in Jamiaca. Bull World Health Organ 1994; 72: 423-426.

17. Reference and selected procedures for the qualitative determination of hemoglobin in blood approved standards 2nd ed. Villanova PA National Committee for Clinical Laboratory Standards 1994.

18. NFHS (2002) India 1998-99- National Family Health Survey-2 NFHS-2-Anemia among women and children. International Institute for Population, Sciences, Mumbai 2000.

19. Dacie JV Lewis SM. Practical Hematology. Chapter 5; Basic Haematological techniques 7th ed 1991; pp 37-54. Publ. Churchill Livingstone, London.

20. Bhaskaram P, Blakrishna N., Radhakrishna K V and Krishnaswamy K. validation of Hemoglobin estimation using hemocue. Indian J Pediatr 2003; 70:25-8.

21. Garby L Irnell L Werner I. Iron deficiency in women of fertile age in Swedish community. III Estimation of prevalence based on response to iron supplementation. Acta Medica Scand 1969; 185:113-121.

22. Reeves JD Driggers DA Lo Y Dallman PR. Screening for iron deficiency anemia in one year old infants; hemoglobin alone or hemoglobin and mean corpuscular volume as predictors of response to iron treatment. J Pediat 1981; 98: 894-898.

23. Mentzer WG. Differentiation of iron deficiency from thalassemia minor. Lancet 1973; 1: 882-884.

24. Kickler TS Borowitz MJ Thompson RE Chariutranont N. Ret Y a measure of reticulocyte size: a sensitive indicator of iron deficiency anemia. Clin Lab Haemat 2004; 26: 423-426.

25, Brugnara C Zurakowsk D Dicanzio J. Reticulocyte hemoglobin content to diagnose iron deficiency in children, J Amer Med Ass 1999; 281: 2252-2230.

26. Radhke H Meyer T Kalus U Rocker L Salma A Kiesewetter H Latza R. Rapid identification of iron deficiency in blood donors with red cell indexes provided by Adiva 120. Transfusion 2005; 45:5-10.

27. Cook JD. The measurement of serum transferrin receptor. Amer J Med Sci 1999; 318: 269-270.

28. Punnonen K Irjala Rajamaki A. Serum transferrin receptor and transferrin receptor –ferritin index identify healthy subjects with subclinical iron deficits. Blood 1998; 92: 29-34.

29.Margetic S Topic E Ruzic DL Kvatermik M. Soluble transferrin receptor and transferrin receptor –ferritin index in iron deficiency anemia and anemia in rheumatic arthritis. Clin Chem Lab Med 2005; 43: 326-331.

30. Zimmermann MB Molinam L Staubh-Asobaiyire F Hess SY Chaouki N Adou P Hurrell RF. Serum transferrin receptor and zinc protoporphyrin as indicator of iron status in African children. Amer J Clin Nutr 2005; 81: 615-623.

31. Agarwal PK Agarwal KN Agarwal DK. Biochemical changes in saliva of malnourished children. Amer J Clin Nutr. 1984; 39: 181-184.

32. Routh BR Agarwal KN. Estimation of tissue iron (non-haem iron) in Indian subjects. Indian J Med Res 1967; 55: 1330-1336.

33. Shukla A Agarwal KN Shukla GS (!989) Effect of latent iron deficiency on metal levels of rat brain regions. Biol Trace Elem Res  22: 141-152.

34. Vahlquist BC (1941) Das serum errisen, eine paediatrisch kinische und experimental studies. Acta Paeditr (Suppl 6 ) 1941; 28:1-4.

35.Mishra OP Agarwal KN Agarwal RMD. Salivary iron status in children with iron deficiency and iron overload. J Trop Pediatr 1992; 38: 64-67.

TABLE I- Hemoglobin and Hematocrit levels; Below Which Anemia is Present in a Population.

Population group                        Hemoglobin g/dl                   Hematocrit %

6-59 months                                          11.0                                    33

5-11 years                                              11.5                                    34

12-14 years                                             12.0                                   36

Non-pregnant women

>15 years                                                 12.0                                   36

Pregnant women

-In first & third trimester                          11.0                                   33

-In second trimester                                  10.5

Men >15 years                                           13.0                                  39

Africans in USA have lower hemoglobin by 0.5 to 1.0 g/dl as compared to Whites.

Those with hemoglobin <7.0g/dl are having severe and very severe anemia respectively.

Public health significance                              Prevalence of anemia

## Category

Severe                                                                     > or = to 40%

Moderate                                                                 20-39.5%

Mild                                                                          5.0-19.9%

Note -    Prevalence of anemia<5% in any population is considered within normal.

- Up to a prevalence of iron deficiency of 40%, the prevalence of iron deficiency will be 2.5 times that of anemia.